## input
OPEN 6.2.2
Tue Jul 24 2012 17:08:24
Unit= | PSC-1276
LCF= | LCF-0481
LCFCals= | -1.54 | -1.24 | -3000
LightSource= | 6400-40 Fluorometer | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/LCF.xml
Remark= | jon
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | FCnt | DCnt | Fo | Fm | Fo' | Fm' | Fs | Fv/Fm | Fv'/Fm' | PhiPS2 | Adark | RedAbs | BlueAbs | %Blue | LeafAbs | PhiCO2 | qP | qN | NPQ | ParIn@Fs | PS2/1 | ETR | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Fv | PARabs | Fv' | qP_Fo | qN_Fo
in | in | in | in | out | out | out | in | in | in | in | in | in | in | out | out | out | in | in | in | in | out | out | out | out | out | in | in | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "17:08:24 Launched AutoProg /User/Configs/AutoProgs/AutoLog2"
Remark= | "17:09:18 LCF Lamp: Off"
Remark= | "17:09:19 CO2 Mixer -> OFF"
Remark= | "17:09:19 Coolers: Off"
Remark= | "17:09:19 Flow: Off"
Remark= | "17:10:27 LCF Lamp: Off"
Remark= | "17:10:28 CO2 Mixer -> OFF"
Remark= | "17:10:28 Coolers: Off"
Remark= | "17:10:28 Flow: Off"
Remark= | "08:45:10 LCF Lamp: Off"
Remark= | "08:45:11 CO2 Mixer -> OFF"
Remark= | "08:45:11 Coolers: Off"
Remark= | "08:45:11 Flow: Off"
Remark= | "11:56:52 LCF Lamp: Off"
Remark= | "11:56:52 CO2 Mixer -> OFF"
Remark= | "11:56:52 Coolers: Off"
Remark= | "11:56:52 Flow: Off"
Remark= | "11:59:49 LCF Lamp: Off"
Remark= | "11:59:50 CO2 Mixer -> OFF"
Remark= | "11:59:50 Coolers: Off"
Remark= | "11:59:50 Flow: Off"
Remark= | "12:01:26 LCF Lamp: Off"
Remark= | "12:01:26 CO2 Mixer -> OFF"
Remark= | "12:01:26 Coolers: Off"
Remark= | "12:01:26 Flow: Off"
Remark= | "23:01:49 LCF Lamp: Off"
Remark= | "23:01:50 CO2 Mixer -> OFF"
Remark= | "23:01:50 Coolers: Off"
Remark= | "23:01:50 Flow: Off"
Remark= | "11:07:37 LCF Lamp: Off"
Remark= | "11:07:37 CO2 Mixer -> OFF"
Remark= | "11:07:37 Coolers: Off"
Remark= | "11:07:37 Flow: Off"
Remark= | "11:10:50 LCF Lamp: ParIn -> 1500 uml, with blue = 10 percent, actinic on"
Remark= | "11:11:48 LCF Lamp: ParIn -> 1500 uml, with blue = 10 percent, actinic on"
Remark= | "11:11:48 CO2 Mixer -> OFF"
Remark= | "11:11:48 Coolers: Off"
Remark= | "11:11:48 Flow: Off"
Remark= | "11:12:13 LCF Lamp: ParIn -> 1500 uml, with blue = 10 percent, actinic on"
Remark= | "11:13:36 LCF Lamp: ParIn -> 1500 uml, with blue = 10 percent, actinic on"
Remark= | "11:13:37 CO2 Mixer -> OFF"
Remark= | "11:13:37 Coolers: Off"
Remark= | "11:13:37 Flow: Off"
Remark= | "11:13:58 LCF Lamp: ParIn -> 1000 uml, with blue = 10 percent, actinic on"
Remark= | "09:10:18 LCF Lamp: ParIn -> 1000 uml, with blue = 10 percent, actinic on"
Remark= | "09:10:18 CO2 Mixer -> OFF"
Remark= | "09:10:18 Coolers: Off"
Remark= | "09:10:18 Flow: Off"
Remark= | "09:19:57 LCF Lamp: ParIn -> 1000 uml, with blue = 10 percent, actinic on"
Remark= | "09:19:57 CO2 Mixer -> OFF"
Remark= | "09:19:57 Coolers: Off"
Remark= | "09:19:57 Flow: Off"
Remark= | "09:22:20 LCF Lamp: ParIn -> 1000 uml, with blue = 10 percent, actinic on"
Remark= | "09:22:21 CO2 Mixer -> OFF"
Remark= | "09:22:21 Coolers: Off"
Remark= | "09:22:21 Flow: Off"
Remark= | "09:24:57 LCF Lamp: ParIn -> 1000 uml, with blue = 10 percent, actinic on"
Remark= | "09:24:57 CO2 Mixer -> OFF"
Remark= | "09:24:57 Coolers: Off"
Remark= | "09:24:57 Flow: Off"
Remark= | "09:29:25 LCF Lamp: ParIn -> 1000 uml, with blue = 10 percent, actinic on"
Remark= | "09:29:25 CO2 Mixer -> OFF"
Remark= | "09:29:25 Coolers: Off"
Remark= | "09:29:25 Flow: Off"
Remark= | "09:37:14 LCF Lamp: ParIn -> 1000 uml, with blue = 10 percent, actinic on"
Remark= | "09:37:14 CO2 Mixer -> OFF"
Remark= | "09:37:14 Coolers: Off"
Remark= | "09:37:14 Flow: Off"
Remark= | "09:50:40 LCF Lamp: ParIn -> 1000 uml, with blue = 10 percent, actinic on"
Remark= | "09:50:41 CO2 Mixer -> OFF"
Remark= | "09:50:41 Coolers: Off"
Remark= | "09:50:41 Flow: Off"
Remark= | "11:20:33 LCF Lamp: ParIn -> 1000 uml, with blue = 10 percent, actinic on"
Remark= | "11:20:34 CO2 Mixer -> OFF"
Remark= | "11:20:34 Coolers: Off"
Remark= | "11:20:34 Flow: Off"
Remark= | "11:30:39 LCF Lamp: ParIn -> 1000 uml, with blue = 10 percent, actinic on"
Remark= | "11:30:39 CO2 Mixer -> OFF"
Remark= | "11:30:39 Coolers: Off"
Remark= | "11:30:39 Flow: Off"
Remark= | "11:30:42 LCF Lamp: Off"