## input
OPEN 6.8.0b
Thr Sep 27 2012 14:14:37
Unit= | PSC-1276
LCF= | LCF-0481
LCFCals= | -1.2 | -2.3 | -2949.98
LightSource= | 6400-40 Fluorometer | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/LCF.xml
Remark= | remark
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | FCnt | DCnt | Fo | Fm | Fo' | Fm' | Fs | Fv/Fm | Fv'/Fm' | PhiPS2 | Adark | RedAbs | BlueAbs | %Blue | LeafAbs | PhiCO2 | qP | qN | NPQ | ParIn@Fs | PS2/1 | ETR | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Fv | PARabs | Fv' | qP_Fo | qN_Fo
in | in | in | in | out | out | out | in | in | in | in | in | in | in | out | out | out | in | in | in | in | out | out | out | out | out | in | in | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
1 | 14:14:41 | 29 | 0 | 102.7874 | -0.05803 | 3523.7822 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | -0.035585 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | -1.0081 | 1.6572 | 23.2581 | 2 | 4.6449 | 1 | 9.2897 | 23.474 | 23.2581 | 23.1317 | 831.9707 | 764.1833 | 12.9732 | 12.3116 | 43.8295 | 41.5944 | 300.9911 | -3352.4597 | 0 | 98.0308 | 0 | 0 | 0.25 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 441105 | 1.505 | -0.0010081 | 296.4081 | 296.624 | -536.3935 | -1.9583 | 2.8641 | 29.216 | 16.9044 | 23.366 | 2.8828 | -0.058395 | 1.2069 | 1.6759 | -0.036464 | 345.4393 | 4.6112 | 40.5416 | 749.246 | 0.055618 | 0 | -2916.64 | 0 | #DIV/0! | #DIV/0!
2 | 14:14:44 | 32 | 0 | 102.7952 | -0.058682 | 3493.9522 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | -0.035768 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | -1.0107 | 1.643 | 23.1842 | 2 | 4.6449 | 1 | 9.2897 | 23.4576 | 23.1842 | 23.1368 | 832.4873 | 764.6956 | 12.9896 | 12.3263 | 43.9284 | 41.6853 | 300.9875 | -3335.5273 | 0 | 98.0312 | 0 | 0 | 0.25 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 441105 | 1.5049 | -0.0010107 | 296.3342 | 296.6076 | -533.6844 | -1.9445 | 2.8513 | 29.0858 | 16.7595 | 23.3209 | 2.875 | -0.059055 | 1.2084 | 1.6666 | -0.036876 | 342.5164 | 4.5691 | 40.7866 | 749.7572 | 0.05592 | 0 | -2901.9088 | 0 | #DIV/0! | #DIV/0!
3 | 14:14:48 | 36 | 0 | 102.8297 | -0.058436 | 3507.1685 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | -0.035993 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | -1.0093 | 1.6476 | 23.2249 | 2 | 4.6449 | 1 | 9.2897 | 23.4514 | 23.2249 | 23.1432 | 833.3359 | 765.5144 | 13.0134 | 12.351 | 44.0254 | 41.7844 | 300.9581 | -3315.7842 | 0 | 98.0311 | 0 | 0 | 0.25 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 441105 | 1.5048 | -0.0010093 | 296.3749 | 296.6014 | -530.5255 | -1.9342 | 2.8583 | 29.1575 | 16.8065 | 23.3382 | 2.878 | -0.058805 | 1.2108 | 1.6672 | -0.03672 | 343.8117 | 4.5815 | 40.7653 | 750.571 | 0.055849 | 0 | -2884.7322 | 0 | #DIV/0! | #DIV/0!
4 | 14:14:51 | 39 | 0 | 102.8694 | -0.058298 | 3515.0512 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | -0.036147 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | -1.0101 | 1.6527 | 23.2619 | 2 | 4.6449 | 1 | 9.2897 | 23.4618 | 23.2619 | 23.1489 | 833.8188 | 765.9692 | 13.0267 | 12.3637 | 44.0426 | 41.8012 | 300.9468 | -3302.9004 | 0 | 98.031 | 0 | 0 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 441105 | 1.5047 | -0.0010101 | 296.4119 | 296.6118 | -528.4641 | -1.9269 | 2.8647 | 29.2227 | 16.8589 | 23.3618 | 2.8821 | -0.058666 | 1.212 | 1.67 | -0.036633 | 344.584 | 4.589 | 40.7116 | 751.02 | 0.055764 | 0 | -2873.5233 | 0 | #DIV/0! | #DIV/0!
5 | 14:15:05 | 53.5 | 0 | 102.9861 | -0.058046 | 3532.0396 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | -0.036704 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | -1.009 | 1.6581 | 23.3264 | 2 | 4.6449 | 1 | 9.2897 | 23.5158 | 23.3264 | 23.1727 | 835.8693 | 767.9471 | 13.0849 | 12.4227 | 44.0952 | 41.8636 | 300.9657 | -3256.4546 | 0 | 98.0299 | 0 | 0 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 441105 | 1.5048 | -0.001009 | 296.4764 | 296.6658 | -521.0327 | -1.8978 | 2.8759 | 29.3371 | 16.9144 | 23.4211 | 2.8924 | -0.058411 | 1.2178 | 1.6746 | -0.036474 | 346.2454 | 4.5993 | 40.7449 | 752.9809 | 0.055727 | 0 | -2833.1155 | 0 | #DIV/0! | #DIV/0!